[image: image1.png]Geriils

)
Contract Flooring



Classic Imperial 2mm

Classic Imperial is a flexible homogeneous calendered compacted floorcovering in tile or sheet, with directional design, colour dyed as a raw mixture to ensure even colour throughout the thickness. Its surface is densely compacted for improved wear and ease of maintenance.

It receives a polyurethane (PUR) surface treatment for ease of maintenance and to avoid the use of an acrylic emulsion after installation.

Classic Imperial is anti-bacterial and fungicidal.

The flooring complies with the EN 649 (34-43) and has a K5 (Group M) wear rating. It is suitable for heavy traffic areas.
